Thales Academy Clayton

Addendum #4

For mechanical bidding, please quote install labor only. Owner will be supplying:

o Duct and accessories/hangers;

o All HVAC units, Exhaust fans, and curbs for both;

o Duct access doors;

o Diffusers;

o Grills;

o Test and Balance;

o P-Traps;

o O&M Instructions for equipment;

o Air filters;

o Flex duct;

o HVLS fans;

o Control Devices only (wiring by GC)

- Wall heaters in Riser Room and Elevator Room will be contractor supplied and installed.

- For electrical and low voltage:

o Lighting Control Panel will be supplied by the Owner and installed by the GC;

o CASlink Control Panel will be supplied by Owner and installed by the GC. This

panel is used for additional Temp/CO2/Humidity monitoring by the Owner;

o Connecting Network Closets in the new K5 with existing buildings, using existing

camera conduit;

o Owner will provide and install equipment. GC will provide structured cable.